## d13C
Appendix G. Standard uncertainty calculator |  |  | Calibration Standards |  | Check Standards | Sample Replicates
Name: |  |  | NBS-19 |  | NBS-18
Analytical Session |  |  | 1 |  | 1
Known delta: |  |  | 1.95 |  | -5.014
Standard deviation: |  |  |  |  | 0.035
Measured mean: |  |  | 1.9494 |  | -5.008
Measured StDev: |  |  | 0.019242 |  | 0.043818
Number measured: |  |  | 18 |  | 5
ΔMeasured−Known |  |  |  |  | 0.006
ssrm | 0.025796 |  | 0.0062944 |  | 0.00768
dfsrm |  | 21
srep | #DIV/0!
dfrep |  | 0
u(Rw) | 0.018241 |  |  | Note that I changed the u(Rw) equation to not include replicates.
RMSbias | 0.006
u(Cref) | 0.035
u(bias) | 0.035511
Standard Uncertainty (uc) | 0.039921
1 |  |  | 1.94 |  | -5.01
2 |  |  | 1.96 |  | -4.99
3 |  |  | 1.95 |  | -5.02
4 |  |  | 1.95 |  | -4.95
5 |  |  | 1.95 |  | -5.07
6 |  |  | 1.93
7 |  |  | 1.99
8 |  |  | 1.95
9 |  |  | 1.95
10 |  |  | 1.93
11 |  |  | 1.97
12 |  |  | 1.95
13 |  |  | 1.92
14 |  |  | 1.92
15 |  |  | 1.97
16 |  |  | 1.94
17 |  |  | 1.98
18 |  |  | 1.94
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175
176
177
178
179
180
181
182
183
184
185
186
187
188
189
190
191
192
193
194
195
196
197
198
199
200

## d18O VPDB
Appendix G. Standard uncertainty calculator |  |  | Calibration Standards |  | Check Standards | Sample Replicates
Name: |  |  | NBS-19 |  | NBS-18
Analytical Session |  |  | 1 |  | 1
Known delta: |  |  | -2.2 |  | -23.2
Standard deviation: |  |  |  |  | 0.1
Measured mean: |  |  | -2.1994 |  | -23.008
Measured StDev: |  |  | 0.087815 |  | 0.062209
Number measured: |  |  | 18 |  | 5
ΔMeasured−Known |  |  |  |  | 0.192
ssrm | 0.083545 |  | 0.13109 |  | 0.01548
dfsrm |  | 21
srep | #DIV/0!
dfrep |  | 0
u(Rw) | 0.059075 |  |  | Note that I changed the u(Rw) equation to not include replicates.
RMSbias | 0.192
u(Cref) | 0.1
u(bias) | 0.21648
Standard Uncertainty (uc) | 0.2244
1 |  |  | -2.25 |  | -23.06
2 |  |  | -2.21 |  | -23
3 |  |  | -2.23 |  | -22.97
4 |  |  | -2.28 |  | -22.93
5 |  |  | -2.2 |  | -23.08
6 |  |  | -2.28
7 |  |  | -2.12
8 |  |  | -2.14
9 |  |  | -2.11
10 |  |  | -2.17
11 |  |  | -2.23
12 |  |  | -2.28
13 |  |  | -2.32
14 |  |  | -2.35
15 |  |  | -2.07
16 |  |  | -2.21
17 |  |  | -2.05
18 |  |  | -2.09
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175
176
177
178
179
180
181
182
183
184
185
186
187
188
189
190
191
192
193
194
195
196
197
198
199
200